## Slide 1: Pin Align Graphical User Interface
By: Samuel Clark
Supervisor: Edwin Lazo

## Slide 2: Project Scope
Create a Graphical User Interface (GUI) for the pin align program that will allow users to automatically configure the program to their beamline.
Requirements for auto configuration:
  Centered Image OR X & Y point to center
  Rod Length
  Pixel per MM
  X, Y, Z Direction

## Slide 3: Break Down of the GUI

## Slide 4: Image Canvas

## Slide 5: Image Canvas

## Slide 6: Image Canvas
Contains a lot of the main functionality for the program.
Most of the code for the functionality of the image side of the GUI is kept in image_canvas.py
Defined as image_in_canvas in pin_align_auto_config.py

## Slide 7: Tool bar Canvas

## Slide 8: Tool Bar Canvas: Manual Button

## Slide 9: Tool Bar Canvas: Manual Button
Not useful in current program
  Functionality currently only allows user to draw a rectangle on the image
To do:
  Manual button should allow the user to change the ROI’s instead of drawing them

## Slide 10: Tool Bar Canvas: Clear Button

## Slide 11: Tool Bar Canvas: Clear Button
To do:
  Currently does not clear a manually drawn rectangle.

## Slide 12: Tool Bar Canvas: Small Box & Big Box

## Slide 13: Tool Bar Canvas: Small Box & Big Box
Big Box – This is the main crop of the image and is used to generate the pin tip, pin body, and pin base ROIs.
Small Box– This ROI should contain the tip of the pin. If the tip of the pin is not inside the Small Box, the user should use the reconfigure tool.
User can left click for outline of the corresponding button or right click for an edge detected overlay

## Slide 14: Info Canvas top
Users can edit all settings in the Info Canvas Top
Shows Edge Detected ROI from current config on the input image

## Slide 15: Info Canvas top

## Slide 16: Info Canvas top

## Slide 17: Info Canvas top

## Slide 18: Info Canvas top

## Slide 19: Info Canvas Top
Users can run the automatic configuration by entering their X and/or Y Point to Center values and hitting submit. This will show the new Bix Box & Small Box ROIs.
Changing the value of any of the other boxes in the Info Canvas Top and hitting submit will also update the configuration file.
The user should enter the X, Y, & Z positive directions appropriate for their beamline.

## Slide 20: Info Canvas Bottom

## Slide 21: Info Canvas Bottom: Main ROI Buttons

## Slide 22: Info Canvas Bottom: Pin & Tilt Check Buttons

## Slide 23: Info Canvas Bottom: Mouse Tracking

## Slide 24: Info Canvas Bottom: ROI X & Y Values

## Slide 25: Info Canvas Bottom: ROI X & Y Values

## Slide 26: Info Canvas Bottom

## Slide 27: Showing ROI
Shows Edge ROI
Right Click
Left Click
Shows Outline of ROI

## Slide 28: Using the GUI

## Slide 29: AMX Auto Configuration

## Slide 30: AMX Auto Config

## Slide 31: Problems
ls: cannot access 'CENTRAL': Stale file handle
  Possibly lost access to CENTRAL
  Can not get access to centered image
Need most up-to-date AMX & FMX config files